New Data Products
Main Product:
Energy range: 3.92 keV – 62.72 keV, 8 bins per octave
Cadence : 1s (normal), 10s (low telemetry)
Mean telemetry : ~ 1.1 kbits/s, ~0.35 kbits/s
Aux Product:
Energy range: 0.98 keV – 3.92 keV +
62.72 keV – 372.736 keV (INF)
8 bins per octave
Cadence : 60s (normal, low telemetry)
Mean telemetry : < 0.05 kbits/s

---
IDefX

---
Ghost Counts ↔ Shaper Overshoot
Solutions :
1. Increase acquisition time
2. Decrease shaping time

---
Acquisition Time → Changed Calibration
Analog Signal
Digitisation
Amplification

---
Calibration ↔ Amplification Overshoot

---
Measurement ↔ Data Products

---
Measurement ↔ Data Products

---
Measurement ↔ Data Products

---
Measurement ↔ Data Products
Data Products
A data product is a set of data items.
A data item is the sum over
- a number of l3 bins
- a number of pixels
- a number of seconds

---
Measurement ↔ Data Products
Data Products
A data product is a set of data items.
A data item is the sum over
- a number of l3 bins
- a number of pixels
- a number of seconds

---
Measurement ↔ Data Products
Issues
- strong overlap of data products
- only part of the energy range is covered

---
Data Products ↔ Analysis
vR
v
Pix 3
Pix 8
vT
Pix 13

---
Data Products ↔ Analysis
Measurement:
E
with Pixel:
v(E)
vR
v(E)
v(E1)
v(E2)
v(E3)
v(E4)
Pix 3
v(E5)
v(E6)
v(E7)
Pix 8
vT
v(E8)
v(E9)
Pix 13

---
Data Products ↔ Analysis
Mass unkown:
v(E,m)
v(En,m2)
vR
Pix 3
v(En,m1)
Pix 8
vT
Pix 13

---
Data Products ↔ Analysis
Velocity
Distribution
 Functions:
n(v(E,m))
vR
Pix 3
Pix 8
vT
Pix 13

---
Data Products ↔ Analysis
Velocity
Distribution
 Functions:
n(v(E,m))
vR
B
Pix 3
Pix 8
vT
Pix 13

---
Data Products ↔ Analysis
Velocity
Distribution
 Functions:
n(v(E,m))
vR
B
Pix 3
Pix 8
vT
Pix 13

---
Velocity
Distribution
 Functions:
n(v(E,m))
vR
B
Pix 3
Pix 8
vT
Pix 13
Issues
- strong overlap of data products
- only part of the energy range is covered
Conclusion
- data products should be orthogonal
- whole energy range should be covered

---
New Data Products
Main Product:
Energy range: 3.92 keV – 62.72 keV, 8 bins per octave
Cadence : 1s (normal), 10s (low telemetry)
Mean telemetry : ~ 1.1 kbits/s, ~0.35 kbits/s
Aux Product:
Energy range: 0.98 keV – 3.92 keV +
62.72 keV – 372.736 keV (INF)
8 bins per octave
Cadence : 60s (normal, low telemetry)
Mean telemetry : < 0.05 kbits/s

---
New Data
New Data
New Data

---
New Data
New Data

---
New Data
New Data

---
New Data
New Data

---
New Data
New Data
New Data